Lidaris UAB

Lidaris UAB, Šv. Stepono g. 27C-24, LT-01312 Vilnius, company code 302813532, 
VAT payer‘s code LT100007025612, phone: +370-609-09233

COMPETITIVE TENDER CONDITIONS

CONTINuOUS WAVE LASER OF 6 KW AVERAGE POWER

WITH NECESSARY ACCESSORIES

TABLE OF CONTENTS

2.	PROCUREMENT OBJECT	2

3.	REQUIREMENTS FOR SUPPLIER QUALIFICATION	3

4.	PREPARATION, SUBMISSION AND AMENDMENT OF TENDERS	4

5.	CLARIFICATION AND SPECIFICATION OF COMPETITIVE TENDER CONDITIONS	6

6.	EXAMINATION AND EVALUATION OF TENDERS	6

7.	REASONS FOR REJECTION OF TENDERS	7

8.	NEGOTIATION	7

9.	DECISION ON AWARD OF THE CONTRACT	7

10.	TERMS AND CONDITIONS OF THE PROCUREMENT CONTRACT	8

11.	FINAL PROVISIONS	9

12.	ANNEXES	9

Annex 1 to the Competitive Tender Conditions	10

TechniCAL specifiCaTION. LASER SOURCE WITH NECESSARY ACCESSORIES	10

Annex 2 to the Competitive Tender Conditions 	13

TENDER FOR LASER SOURCE WITH NECESSARY ACCESSORIES	13

UAB „Lidaris“	17

Annex 3 to the Competitive Tender Conditions	17

DECLARATION ON CONFORMITY TO MINIMUM QUALIFICATION REQUIREMENTS REGARDING SUPPLY OF THE LASER SOURCE WITH NECESSARY ACCESSORIES	17

Annex 4 to the Competitive Tender Conditions	18

DECLARATION ON IMPLEMENTED CONTRACTS ON SALE OF SIMILAR PRODUCTS	18

GENERAL CONDITIONS

  - Lidaris UAB (hereinafter referred to as the Buyer), in the framework of the Project “Continuous wave laser of 6 kW average power with necessary accessories“ (No. J05-LVPA-K-04-0110) co-funded by structural assistance of the European Union and the Republic of Lithuania, intends to procure the continuous wave laser of 6 kW average power with necessary accessories.

  - The main concepts used herein are defined in the Project Administration and Financing Rules approved by order No. 1K-316 of 8 October 2014 of the Minister of Finance of the Republic of Lithuania (hereinafter referred to as the Rules)

  - The procurement shall be carried out pursuant the Rules, the Civil Code of the Republic of Lithuania (hereinafter referred to as the Civil Code), other laws and competitive tender conditions (hereinafter referred to as the Competitive Tender Conditions).

  - The announcement on the procurement was published on the website of the investment of funds of the European Union www.esinvesticijos.lt.

  - The procurement shall be carried out in the way of the competitive tender in accordance with principles of equality, non-discrimination, mutual recognition, proportionality and transparency.

  - In the event of failure of the competitive tender due to non-receipt of at least one supplier‘s tender that meets requirements of the Buyer, the Buyer reserves the right to carry out re-procurement following the procedure set out in clause 461.1 of the Rules.

  - The person authorised by the Buyer to communicate directly with suppliers and to receive their notifications related to the procurement procedures: the engineer Mindaugas Ščiuka, phone: +370-601-38283, e-mail: mindaugas@lidaris.com.

- PROCUREMENT OBJECT

  - The object of procurement is the continuous wave laser of 6 kW average power with necessary accessories whereof performance is set out in the provided Technical Specification.

  - In the event that, when describing the procurement object in the Technical Specification, a particular model or source, process or brand, patent, types, a particular origin or manufacture are specified, it should be deemed that objects equivalent in their properties are also acceptable.

  - The procurement is not divided into parts; therefore, the tender has to be submitted for the total quantity of specified goods.

  - The goods have to be delivered within 90 days as from the day of signing the procurement contract.

  - The goods have to be delivered at the address: Lidaris UAB, Saulėtekio al. 10, LT-10223, Vilnius, Lithuania.

- REQUIREMENTS FOR SUPPLIER QUALIFICATION

3.1	The Supplier taking part in the procurement must meet the following minimum qualification requirements:

    - General requirements on supplier qualification

| Ref. No. | Qualification requirements | Importance of qualification requirements | Documents evidencing qualification requirements |
| --- | --- | --- | --- |
| 3.1.1.1 | The supplier has not gone bankrupt, under liquidation, has not come to an arrangement with its creditors, has not suspended or restricted its operations or its situation is not the same or similar under the laws of the country of its registration. No restructuring, bankruptcy proceedings, either judicial or out-of-court, have been instituted against the supplier, no forced liquidation or arrangement with creditors is being sought, or its situation is not the same or similar under the laws of the country of its registration. | The tender of the supplier not meeting this requirement shall be rejected | The document issued by the State Enterprise Centre of Registers or a relevant institution of a foreign country and proving that the supplier has not gone bankrupt, under liquidation, restructuring, bankruptcy proceedings, either judicial or out-of-court, have been instituted against the supplier, no forced liquidation or arrangement with creditors is being sought; or excerpt from the court decision issued not earlier than within 60 days until the deadline for tender submission. If the document is issued earlier, however, it‘s validity term is longer than the deadline of the tender submission, such document shall be acceptable. Duly certified copy of the document or written confirmation-declaration of the supplier (Annex 3 to the Competitive Tender Conditions, Declaration on Conformity to Minimum Qualification Requirements) that the supplier meets the qualification requirement specified in this clause has to be provided. |

* Notes:

1) if the supplier is unable to submit the specified documents as such documents may not be issued in the respective country or documents to be issued in that country do not cover the issues raised, the declaration of oath or an official supplier‘s declaration has to be submitted;

2) copies of the documents shall be certified by signature of the supplier or its authorised person and bear wording “True copy“, job title, name (letter of the name), surname, date and stamp (if any).

3.1.2. Requirements on economic and financial status, technical and professional capability

| Ref. No. | Qualification requirements | Importance of qualification requirements | Documents evidencing qualification requirements |
| --- | --- | --- | --- |
| 3.1.2.1 | The supplier within recent 3 years or within the time since the day of registration of the supplier (in the event when the supplier‘s operations has lasted less than 3 financial years) implemented or is implementing at least 1 (one) similar contract whereof value/value of the implemented part of the contract is at least 0.7 times of the tender value. | The tender of the supplier not meeting this requirement shall be rejected | The list of implemented similar procurement contracts must be provided. Each specified transaction has to cover the laser of at least 3kW average optical power with necessary accessories, e.g. cooling block, radiation supply optical fibre cable, and collimator. Goods that are not directly related to operation of the laser should not be included into the total amount of the transaction or contract. When providing the list of implemented similar procurement contracts, names of goods, the total amount of the contract of similar goods in EUR excluding VAT, recipients of the goods and their identification data must be specified by filling in the table provided in Annex 4. |

  - If a joint tender is submitted by a group of economic operators, each member of the group of economic operators must meet qualification requirements provided in Clause 3.1.1.1 of these Competitive Tender Conditions and submit the specified documents, and at least one member of the group of economic operators or all members of the group of economic operators together must meet qualification requirements established in Clause 3.1.2.1 herein and submit the specified documents.

  - The tender of the supplier shall be rejected if it has submitted false information related to compliance with the set forth requirements and if such information can be proved by the Buyer employing any legitimate means.

  - In the event when a group of economic operators participates in the procurement procedures, it must submit the joint venture agreement or duly certified copy thereof. The joint venture agreement must contain information on liabilities of each contractual party at the time of performance of the contract to be intended to conclude with the Buyer and a part of value of these liabilities in the total value of the procurement contract. The joint venture agreement must foresee the joint liability of all parties to this agreement for failure to carry out obligations in respect of the Buyer. The joint venture agreement must also specify the person representing the group of economic operators (whom the Buyer should communicate with in the event of issues arising at the time of evaluation of the tender and provide information related to the tender; what partner is authorised to submit and sign the tender and to enter into the contract).

- PREPARATION, SUBMISSION AND AMENDMENT OF TENDERS

4.1 While tendering, the supplier agrees with these Competitive Tender Conditions and confirms that information presented in his tender is correct and contains everything what is needed to carry out properly the procurement contract.

4.2 The tender signed by the supplier or his authorised person must be submitted by email address mindaugas@lidaris.com. In the event that the tender is signed by the authorised person, a copy of the letter of authorisation issued by the supplier must be enclosed to the tender. Requirement to sign the tender with the use of digital signature does not apply. Tenders submitted in paper version in envelopes shall not be accepted and evaluated but returned unopened to the supplier.

  - The supplier has to submit his tender and other correspondence in the Lithuanian or English language.

  - The supplier has to submit his tender in accordance with the template provided in Annex 2 hereto.

  - The tender shall contain the entirety of the following documents submitted by the supplier in writing:

    - filled in tender form arranged in accordance with Annex 2 hereto;

    - documents justifying minimum qualification requirements specified in the Competitive Tender Conditions;

    - joint venture agreement or duly certified its copy if a joint tender is being submitted by a group of economic operators;

    - other information and/or documents required in the Competitive Tender Conditions.

  - The supplier may submit only one tender, i.e. individually or as a member of the group of economic operators. In the event when the supplier submits more than one tender or when a member of the group of economic operators takes part in submission of a few tenders, all such tenders shall be rejected.

  - When tendering, the supplier has to offer the whole amount of specified goods.

  - Suppliers shall not be allowed to submit alternative tenders. In the event when the supplier submits an alternative tender, his tender and an alternative tender(s) shall be rejected.

  - The tender must be submitted before 13 August 2019 04:00 PM (local time of the Republic of Lithuania) sending it to the email address specified in Clause 4.2 of the Competitive Tender Conditions. On request of the supplier the Buyer shall present by email within 24 hours a written confirmation of receipt of the tender and shall specify the receipt day, hour and minute.

  - The price of the goods and installation work must be specified in tenders by filling in the table provided in Annex 2 to the Competitive Tender Conditions. To avoid risk related to fluctuation of the currency exchange rate, prices of the goods and installation work have to be provided in euro excluding VAT. Tenders submitted in other currency shall be rejected. If the tender is being submitted by the supplier registered not in Lithuania, he shall not have to fill in columns “including VAT“ of the table in Annex 2. When calculating the price, full amount of goods and installation work specified in Annex 2 to the Competitive Tender Conditions, price components and requirements of the Technical Specification, etc., have to be taken into account. The price of goods must include all taxes and all costs of the supplier including expenses for transportation, preparation for use and testing of the equipment. The total price of the tender shall be calculated in the way of summing prices of each good or service and rounding the obtained figure in accordance with mathematical rules to two digits after coma.

The final price of the tender= i=1n-the number of all goods or services included into the tender(the price of inidividual good or service)i

  - The Buyer shall not be liable for technical malfunctions or other unforeseen events due to which tenders have not been received or have been received too late. Delayed tenders shall not be evaluated.

  - The tender must be valid at least by 6 September 2019. If the tender does not contain information on its validity term, it shall be deemed to be valid to the extent provided in the procurement documents.

  - Prior expiry of the tender validity term the Buyer shall be entitled to request the suppliers to extend their validity until a particular date specified by the Buyer. The supplier may reject such request.

  - Prior the deadline of the tender submission the Buyer shall be entitled to extend it. The Buyer shall inform in writing on a new tender submission deadline all suppliers that have received the competitive tender conditions and shall publish this information on the website of investment of the funds of the European Union www.esinvesticijos.lt .

  - Until the deadline for tender submission the supplier shall be entitled to amend or withdraw its tender. Such amendment or notification on withdrawal shall be acknowledged as valid if the Buyer receives it in writing before the deadline of the tender submission.

- CLARIFICATION AND SPECIFICATION OF TENDERING CONDITIONS

  - The Buyer shall respond to each written request of the supplier to clarify the procurement conditions if the request is received no later than 3 working days before the tender submission deadline. The Buyer shall respond to timely received request of the supplier to clarify the Competitive Tender Conditions no later than within 2 working days as from its receipt and no later than 2 working days before the tender submission deadline. In response to the supplier the Buyer shall send clarifications to any other supplier having been provided with the Competitive Tender Conditions, however, shall not specify which supplier has requested to clarify the Competitive Tender Conditions.

  - Before the deadline of the tender submission but no later than 2 working days before the tender submission deadline the Buyer shall be entitled to clarify and/or specify the Competitive Tender Conditions on its own initiative.

  - In the event of amendment of information necessary for preparation of tenders as well as of clarification (specification) of documents for suppliers (e.g. requirements for qualification are amended and/or specified) after announcement of the invitation to tender, the Buyer, following the procedure established in Clause 458 of the Rules, shall announce an amended invitation to tender.

  - The Buyer shall not arrange meetings with suppliers for clarification of the procurement documents.

  - Any information, clarification of the Competitive Tender Conditions or other communication between the Buyer and the supplier shall be carried out by mail, e-mail at the address specified in this Clause. The engineer Mindaugas Ščiuka, phone: +370-601-38283, email: mindaugas@lidaris.com, has been authorised to communicate directly with suppliers.

- EXAMINATION AND EVALUATION OF TENDERS

  - The tenders shall be examined on 14 August 2019 at 1:00 PM (local time of the Republic of Lithuania) in the absence of the suppliers or their authorised representatives.

  - Tender examination, evaluation and comparison shall be performed by the Commission in the absence of suppliers or their authorised representatives

  - The Commission shall examine the following:

    - whether the suppliers have provided accurate and complete data on their qualifications and whether qualification of the supplier meets the minimum qualification requirements;

    - whether the suppliers have provided complete data, all documents and comprehensive information set out in the Competitive Tender Conditions and whether the tender meets requirements set herein;

    - whether abnormally low prices have not been offered;

    - whether prices of goods and installation work are provided in euro.

  - The Commission shall make decision on conformity to the minimum qualification data required in the Competitive Tender Conditions for each supplier having submitted the tender. In the event that the supplier has provided inaccurate or incomplete data on its qualification, the Commission shall request the supplier to supplement or clarify these data within a reasonable period of time, which may not exceed 3 working days. Only the suppliers whereof data meet the requirements of the buyer shall be entitled to participate in the further procurement procedures.

  - In the event of any questions concerning the tender content and upon written request of the Commission to clarify or specify these data the suppliers shall be bound to provide in writing additional clarification without changing the nature of their tender within the reasonable term specified by the Commission, which must be at least 3 working days.

  - In the event that the Commission finds any errors related to calculation of the price specified in the submitted tender, it shall be bound to request suppliers in writing to correct within its specified reasonable time the arithmetical errors noticed in the tender. When correcting the arithmetical errors in the tender, the supplier shall not be entitled to refuse any components of the price or to add new parts to it.

  - In the event that abnormally low price is specified in the tender, the Commission shall be entitled – and in the event of intention to reject the tender, it shall be bound – to request the supplier to present justification of the abnormally low price of the tender, including detailed justification of components of the price, within reasonable time specified by the Commission.

  - Prices specified in the tenders shall be evaluated in Euro.

  - Tenders not rejected by the Buyer shall be evaluated based on the lowest price criteria.

- REASONS FOR REJECTION OF TENDERS

7.1 The Commission shall reject the tender in the following cases:

7.1.1 the supplier has submitted more than one tender (all tenders of the supplier shall be rejected);

7.1.2 the supplier has not met the minimum qualification requirements if they have been applied;

    - the supplier has provided inaccurate or incomplete data on its qualification in the tender, and, on request of the Buyer, has failed to specify them;

    - the tender (in the event of negotiation – the final tender) has not met requirements set forth in the Competitive Tender Conditions (the procurement object specified in the supplier’s tender does not meet requirements specified in the Technical Specification, etc.) or a participant, upon request of the Buyer, has failed, without change of the tender’s nature, to clarify or specify its tender;

    - the supplier provided prices of goods and installation work not in Euro;

    - the supplier has failed to correct arithmetical errors and (or) to clarify the tender within the time specified by the Buyer;

    - an abnormally low price has been offered and the supplier, upon request of the Buyer, has failed to provide a written justification of the price components or has failed to justify otherwise the abnormally low price;

    - the supplier has presented false information which can be proved by the Buyer employing any legitimate means;

    - the price offered by the supplier, whereof tender has not been rejected on any other grounds, is too high and not acceptable to the purchasing organization.

  - The supplier shall be notified on rejection of the tender within one working day as from the day of making such decision.

- NEGOTIATION

  - There will be no negotiations.

- DECISION ON AWARD OF THE CONTRACT

  - Having examined, evaluated and compared submitted tenders, the Commission shall set the ranking of tenders. The tenders shall be ranked according to the price increase order. If identical prices are quoted in several tenders, priority in the ranking of the tenders shall be given to the supplier whose tender have been registered earlier.

  - In the event where only one supplier submitted the tender, the ranking of tenders shall not be produced and the supplier’s tender shall be deemed as successful, provided that it has not been rejected in accordance with provisions of these Competitive Tender Conditions.

  - The supplier having quoted the lowest price shall be announced as successful and it shall be invited to conclude the contract specifying a deadline for entry into it.

  - If the successful supplier refuses in writing to enter into the procurement contract or does not arrive until the specified time to inter into it, fails to present a contract performance guarantee set out herein, if any, or refuses to enter into the procurement contract under the terms and conditions set out in the procurement documents, it shall be deemed that the supplier has refused to enter into the procurement contract. In this event the Commission shall propose to enter into the procurement contract to the supplier whereof tender, in accordance with ranking of the tenders, is the first after the tender of the supplier that has refused to enter into the procurement contract.

- TERMS AND CONDITIONS OF THE PROCUREMENT CONTRACT

  - The procurement contract shall be executed with the successful supplier under the terms and conditions herein in accordance with the Rules and the Civil Code.

  - When entering into the procurement contract, the price and material conditions of the final tender as well as material conditions of the tender set out by the Buyer at the beginning of the procurement may not be amended.

  - Delivery and acceptance of the Equipment provided for in the contract shall be performed by the supplier in accordance with Delivery and Acceptance Certificate(s) of the equipment, which shall be prepared by the supplier and signed by both the supplier and the Buyer.

  - Advance payment specified in the procurement contract may reach 100 percent, i.e., the total price of the contract

  - The Buyer undertakes to pay the advance no later than within 15 working days as from the date of signing the sale and purchase contract.

  - The final payment whereof amount depends on the amount of the advance payment shall be paid by the Buyer no later than within 15 working days as from signing the Delivery and Acceptance Certificate.

  - If delivery of goods and installation work is delayed or Competitive Tender Conditions are not met, the supplier and/or Buyer shall be bound to pay penalty interest in the amount of 0.05 percent from the value of the procurement contract for each delayed day. The supplier shall be bound to include the penalty condition into the sale and purchase contract.

  - During performance of the procurement contract, material conditions of the procurement agreement shall not be amended provided:

    - upon their amendment new conditions would be foreseen which, in the event of establishment of such conditions in the procurement documents, would enable participation of other suppliers than those having been participated in the procurement;

    - they are amended while foreseeing new conditions in the procurement documents, in the event of which the decision on award of the contract could be made in respect of other supplier than the selected one;

    - the object of procurement is amended in the way that new (additional) goods, services or work are included into the amended procurement contract;

    - economic balance of the contract changes in favour of the person who entered into the contract in the way that has not been foreseen in the primary conditions of the contract.

  - The procurement contract or preliminary contract during its validity term can also be amended when such amendment does not cause material changes for nature of the procurement contract and total value of individual amendments according to this clause does not exceed 10 percent of original value of the procurement contract in case of procurement of goods or services and 15 percent in case of procurement of work.

- FINAL PROVISIONS

  - Expenses pertaining for preparation of tenders and participation in the tendering shall not be reimbursed to the suppliers.

  - The Buyer shall be entitled to terminate procurement procedures at any time before entry into the procurement contract, provided that there are circumstances that could not be foreseen. Having decided to terminate the procurement procedures, the Buyer shall notify on it all suppliers having submitted tenders no later than within 3 working days from making such decision; and in the event when the procurement procedures are terminated before the deadline for submission of tenders, the Buyer shall notify all suppliers that obtained the terms and conditions of the procurement and/or procurement documents.

  - The Buyer no later than within 3 working days as from entry into the procurement contract shall notify in writing all supplies having submitted tenders on conclusion of the procurement contract and specifies the supplier who has entered into the procurement contract.

  - Information contained in the tenders, except for the information provided for in Clause 11.3 of the Competitive Tender Conditions, shall not be made public for suppliers and third parties, except for the persons administering and auditing the use of EU funds.

- ANNEXES

- Technical Specification: Laser Source with Necessary Accessories (Annex 1)

- Tender Form: Laser Source with Necessary Accessories (Annex 2)

- Declaration on Conformity to Minimum Qualification Requirements Regarding Supply of the Laser Source with Necessary Accessories (Annex 3).

- Declaration on implementation of contracts on sale of similar goods (Annex 4).

## Annex 1 to the Competitive Tender Conditions

## TECHNICAL SPECIFICATION

## LASER SOURCE WITH NECESSARY ACCESSORIES

The table below includes technical specifications of the continuous wave laser of 6kW average power with necessary accessories.

| Row No. | Item | Technical parameter | Value |
| --- | --- | --- | --- |
| 1 | Continuous wave (CW) laser | Laser mode | CW/modulated |
|  |  | Average optical power of radiation | No less than 6kW |
|  |  | Polarization of radiation | Random |
|  |  | Wavelength of radiation | From 1068nm to 1080nm |
|  |  | Linewidth of radiation | From 3nm to 6nm |
|  |  | Maximum radiation modulation rate | No less than 5kHz |
|  |  | Allowed maximum radiation power instability over 8 hour period | No more than ±2% |
|  |  | Adjusting integrated radiation power (with a step size less than laser power instability) | Mandatory |
|  |  | ON/OFF maximum duration | No more than 0.1ms |
|  |  | Integrated low power (no more than 100mW) red/green laser for system guiding | Mandatory |
|  |  | Operating ambient temperature range | From 5°C to 45°C or wider range |
|  |  | Operating ambient relative humidity range | From 10% to 95% RH or wider range |
|  |  | Storage temperature range without coolant | From -40°C to 75°C or wider range |
|  |  | Control over Ethernet with included protocol manual in English or Lithuanian language | Mandatory |
|  |  | Direct control using TTL signals with protocol manual in English or Lithuanian language | Mandatory |
|  |  | Control software for setting and monitoring laser parameters | Mandatory |
|  |  | Interlock connector | Mandatory |
|  |  | Laser turn-on key | Mandatory |
|  |  | Laser turn-on button | Mandatory |
|  |  | Laser emission indicating light | Mandatory |
|  |  | Laser interlock state indicating light | Mandatory |
|  |  | Coolant drain valve inside the laser block | Mandatory |
|  |  | Laser cooling inlet and outlet connectors | Mandatory |
|  |  | Laser optics cooling inlet and outlet connectors | Mandatory |
|  |  | PE external connector | Mandatory |
|  |  | Laser emission feeding fibre connector | Mandatory |
|  |  | Total maximum power consumption (without chiller) at maximum load | No more than 18kW |
|  |  | Laser operating voltage | 400-460V V/3P+PE 50-60Hz |
|  |  | Integrated input fuse | Mandatory |
|  |  | Fast laser block turn ON/OFF complying with 3PL d EN ISO 13849-1 standard | No more than 150ms |
|  |  | Laser block size (length x height x width) | No more than 97 x 85 x 45cm Castor wheels are mandatory |
|  |  | Total weight without chiller | No more than 200kg |
| 2 | Emission feeding fibre | Length | No less than 20m |
|  |  | Core diameter | No more than 100µm |
|  |  | Compatibility with collimator and laser block | Mandatory |
|  |  | Connector standard | QBH, water cooled |
| 3 | Radiation collimator | Focal length | 100mm (allowed deviation ±1mm) |
|  |  | Output lens aperture | 50mm (allowed deviation ±1mm) |
|  |  | Pre-collimated in factory | Mandatory |
|  |  | Protection window | Mandatory |
|  |  | Coolant | Water |
|  |  | Compatible with feeding fibre | Mandatory |
|  |  | Connector standard | QBH |
| 4 | Direct chiller (for internal cooling lines) | Maximum cooling capacity | No less than 17kW |
|  |  | Coolant | Chiller must be pre-filled with coolant or coolant must be supplied |
|  |  | Operation environment | Indoor |
|  |  | Number of compressors | No less than 1 |
|  |  | Number of cooling lines with separate pumps | No less than 2 |
|  |  | Allowed external line inlet operational temperature (designed temperature) | From 10°C to 40°C or wider range (36 °C) |
|  |  | External line coolant liquid flow of the chiller | No more than 3.2m³/h |
|  |  | External line coolant of the chiller | Ethylene glycol - water |
|  |  | External line allowed pressure of the chiller | From 2,5 to 8bar |
|  |  | Allowed direct storage temperature of the chiller without coolants | From -40°C to 64°C or wider range |
|  |  | Internal cooling line cooling power of the laser | No less than 16kW |
|  |  | Temperature of the coolant supplied to the internal cooling line of the laser | 21°C (allowed deviation ±1°C) |
|  |  | Maximum internal cooling line return temperature of the laser | 28.6°C (allowed deviation ±1°C) |
|  |  | Laser cooling line outlet temperature stability | ±1K or better |
|  |  | Laser cooling line pressure | No less than 2bar |
|  |  | Laser cooling line water flow at 2bar | No more than 30l/min |
|  |  | Optics cooling line cooling power | No less than 1kW |
|  |  | Optics cooling line outlet temperature | 30°C (allowed deviation ±1°C) |
|  |  | Optics cooling line inlet temperature | 31°C (allowed deviation ±1°C) |
|  |  | Optics cooling line outlet temperature stability | ±1K or better |
|  |  | Optics cooling line pressure | No less than 3bar |
|  |  | Optics cooling line water flow at 3bar | No less than 20l/min |
|  |  | Supplied cooling line hose connecting chiller with laser block | Mandatory |
|  |  | Cooling hose length | No less than 20m |
|  |  | Maximum device size (length x height x width) | No more than 110 x 170 x 70cm |
|  |  | Total electrical power consumption at maximum load | No more than 16kW |
|  |  | Integrated controller for direct chiller control | Mandatory |
|  |  | Chiller operating voltage | 400-460V V/3P+PE 50-60Hz |
|  |  | Total chiller weight without coolant | No more than 410kg |
| 5 | Laser installation | Installation on site at UAB “Lidaris” premises | Mandatory |
|  |  | Laser parameter check after installation | Mandatory |
| 6 | Warranty | Warranty | No less than 36 months |

## Annex 2 to the Competitive Tender Conditions

### TENDER

### FOR LASER SOURCE WITH NECESSARY ACCESSORIES

- - 20

date

Place

| Name of the supplier |  |
| --- | --- |
| Address of the supplier |  |
| Name and surname of the person responsible for the tender |  |
| Phone number |  |
| Fax number |  |
| E-mail address |  |

We hereby note to have agreed with all purchase terms and conditions set in:

1) announcement on tendering in the website www.esinvesticijos.lt on 5 August 2019;

2) Competitive Tender Conditions;

3) Annexes to procurement documents.

We offer the following continuous wave laser of 6kW average power with necessary accessories:

| Row No. | Item | QTY | Unit of measurement | Unit price, EUR (excluding VAT) | Unit price, EUR (including VAT) | Price, EUR (excluding VAT) | Price, EUR (including VAT) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Continuous wave (CW) laser | 1 | unit |  |  |  |  |
| 2 | Radiation feeding fibre | 1 | unit |  |  |  |  |
| 3 | Collimator of radiation | 1 | unit |  |  |  |  |
| 4 | Direct chiller (for internal cooling lines) | 1 | unit |  |  |  |  |
| 5 | Laser installation | 1 | unit |  |  |  |  |
|  |  | Total offer price |  |  |  |  |  |

| Row No. | Item | Technical parameter | Value |
| --- | --- | --- | --- |
| 1 | Continuous wave (CW) laser | Laser mode |  |
|  |  | Average optical power of radiation |  |
|  |  | Polarization of radiation |  |
|  |  | Wavelength of radiation |  |
|  |  | Linewidth of radiation |  |
|  |  | Maximum radiation modulation rate |  |
|  |  | Allowed maximum radiation power instability over 8 hour period |  |
|  |  | Integrated adjusting of radiation power (with a step size less than laser power instability) |  |
|  |  | ON/OFF maximum duration |  |
|  |  | Integrated low power (no more than 100mW) red/green laser for system adjustment |  |
|  |  | Operating ambient temperature range |  |
|  |  | Operating ambient humidity range |  |
|  |  | Storage temperature range without coolant |  |
|  |  | Control over Ethernet with included protocol manual in English or Lithuanian language |  |
|  |  | Direct control using TTL signal with protocol manual in English or Lithuanian language |  |
|  |  | Control software for setting and monitoring laser parameters |  |
|  |  | Interlock connector |  |
|  |  | Laser turn-on key |  |
|  |  | Laser turn-on button |  |
|  |  | Laser emission indicating light |  |
|  |  | Interlock state indicating light of the laser |  |
|  |  | Coolant drain valve inside the laser block |  |
|  |  | Cooling inlet and outlet connectors of the laser |  |
|  |  | Optics cooling inlet and outlet connectors of the laser |  |
|  |  | PE external connector |  |
|  |  | Radiation feeding fibre connector of the laser |  |
|  |  | Total maximum power consumption (without chiller) of the electric laser at maximum load |  |
|  |  | Operating voltage of the laser |  |
|  |  | Integrated input fuse |  |
|  |  | Fast laser block turn ON/OFF complying with 3PL d EN ISO 13849-1 standard |  |
|  |  | Laser block size (length x height x width) |  |
|  |  | Total weight without chiller |  |
| 2 | Emission feeding fibre | Length |  |
|  |  | Core diameter |  |
|  |  | Compatibility with collimator and laser block |  |
|  |  | Connector standard |  |
| 3 | Collimator | Focal length |  |
|  |  | Output lens aperture |  |
|  |  | Pre-collimated in factory |  |
|  |  | Protection window |  |
|  |  | Coolant |  |
|  |  | Compatible with feeding fibre |  |
|  |  | Connector standard |  |
| 4 | Direct chiller (for internal cooling) | Maximum cooling capacity |  |
|  |  | Coolant |  |
|  |  | Operation environment |  |
|  |  | Number of compressors |  |
|  |  | Number of cooling lines with separate pumps |  |
|  |  | Allowed external line inlet operational temperature (designed temperature) |  |
|  |  | External line coolant liquid flow of the chiller |  |
|  |  | External line coolant of the chiller |  |
|  |  | External line allowed pressure of the chiller |  |
|  |  | Allowed storage temperature of the chiller without coolant |  |
|  |  | Internal cooling line cooling power of the laser |  |
|  |  | Cooling line coolant temperature of the laser |  |
|  |  | Maximum return temperature of internal cooling line of the laser |  |
|  |  | Temperature stability of cooling line outlet of the laser |  |
|  |  | Cooling line pressure of the laser |  |
|  |  | Cooling line water flow at 2bar of the laser |  |
|  |  | Optics cooling line cooling power |  |
|  |  | Optics cooling line outlet temperature |  |
|  |  | Optics cooling line inlet temperature |  |
|  |  | Optics cooling line outlet temperature stability |  |
|  |  | Optics cooling line pressure |  |
|  |  | Optics cooling line water flow at 3bar |  |
|  |  | Supplied cooling line hose connecting chiller with laser block |  |
|  |  | Cooling hose length |  |
|  |  | Maximum device size (length x height x width) |  |
|  |  | Total electrical power consumption at maximum load |  |
|  |  | Integrated controller for direct chiller control |  |
|  |  | Chiller operating voltage |  |
|  |  | Total weight of the direct chiller without coolant |  |
| 5 | Laser installation | Installation on site at UAB “Lidaris” premises |  |
|  |  | Laser parameter check after installation |  |
| 6 | Warranty | Warranty |  |

The offered continuous wave laser source of 6kW average power with necessary accessories fully conforms to requirements specified in the procurement documents and it performance is as follows:

The tender is valid until __ ___ 20___

I, the undersigned, confirm that the information provided in our tender is correct and that we have not concealed any information that tender participants were requested to provide:

I confirm that I have not participated in preparation of procurement documents and I am not related to any other enterprise participating in this competitive tender or other concerned party.

I understand that if the above circumstances become clear, I shall be withdrawn from this tendering and my tender shall be rejected.

| Position of the supplier manager or its authorised person |  | signature |  | Name and surname |
| --- | --- | --- | --- | --- |

## Lidaris UAB

## Annex 3 to the Competitive Tender Conditions

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(name, code, contact information of the supplier)

Lidaris UAB

Šv. Stepono g. 27C-24, LT-01312

company code  302813532

phone: +370-609-09233, e-mail: info@lidaris.com

### DECLARATION ON CONFORMITY TO MINIMUM QUALIFICATION REQUIREMENTS REGARDING SUPPLY OF THE LASER SOURCE WITH NECESSARY ACCESSORIES

____________________

(Date)

_____________________

(Place)

| Hereby I ______________________________________________________________________________ , |  |  |  |  |
| --- | --- | --- | --- | --- |
| (full name and position of the supplier manager or his authorized person) |  |  |  |  |
| confirm that my managed (represented by me) ______________________________________________________________________________ , |  |  |  |  |
| (name of the supplier) |  |  |  |  |
| participating in the competitive tender organized by Lidaris UAB for procurement of CONTINuOUS WAVE LASER OF 6 KW AVERAGE POWER WITH NECESSARY ACCESSORIES, in the website of the structural support of the European Union www.esinvesticijos.lt, qualification data on 5 August 2019 are as follows (the supplier has to specify conformity to the specified qualification requirements marking in the columns Yes or No): |  |  |  |  |
| Ref. No. |  | General requirements on supplier qualification | Yes | No |
| 1. |  | The supplier has not gone bankrupt, under liquidation, has not come to an arrangement with its creditors, has not suspended or restricted its operations or its situation is not the same or similar under the laws of the country of its registration. No restructuring, bankruptcy proceedings, either judicial or out-of-court, have been instituted against the supplier, no forced liquidation or arrangement with creditors is being sought, or its situation is not the same or similar under the laws of the country of its registration. |  |  |

I am aware that in the event that Lidaris UAB detects that provided data are false, the submitted tender shall not be examined and rejected.

___________________________________________	___________	      ____________________

(name of position of the supplier or his authorised person)	    (signature)	             (name and surname)

|  | ## Lidaris UAB ## Annex 4 to the Competitive Tender Conditions |
| --- | --- |

### DECLARATION ON IMPLEMENTED CONTRACTS ON SALE OF SIMILAR PRODUCTS*

| Ref. No. | Name of the product | Date of entry into and completion of the contract | Total amount of similar products*, EUR, including VAT | Name, address of the recipient of the products, name and surname of the buyer‘s representative |
| --- | --- | --- | --- | --- |

*Note:

Similar products are the laser (with accessories necessary for such operation) with generated average power of optical radiation at least 3kW.

______________________________________________________

(Name, surname and signature of the supplier or his authorised person)